## Distribution_Connected_Solar_Ge
Generator Reference | Project | Type | MEC (MW) | Feeding Station | Feeding 110kV Station | Offer Type | Status | Connection Date | Connection Voltage
DG1561 | Hortland PV | Solar | 14 | N/A | Dunfirth | Non GPA | Energised | 2022-07-01 | 20 kV
DG1560 | Hilltown PV | Solar | 10 | N/A | BALTRASNA | Non GPA | Energised | 2023-05-12 | 20 kV
DG1295 | Macallian Solar | Solar | 9 | N/A | Crane 110-MV | ECP-1 | Energised | 2023-12-16 | 20 kV
DG1161 | Millvale North PV | Solar | 8 | N/A | Ballybeg | Non GPA | Energised | 2022-04-25 | 10 kV
DG1090 | Blusheens Solar Park | Solar | 7.98 | Killinick | Wexford | Non GPA | Energised | 2022-08-20 | 20 kV
DG1081 | Ballycullane Solar Park (Coolroe) | Solar | 4.99 | BEALISTOWN | Great Island | Non GPA | Energised | 2022-10-05 | 20 kV
DG1104 | Coolyduff | Solar | 4.95 | CURRALEIGH | Kilbarry | Non GPA | Energised | 2024-02-22 | 20 kV
DG1172 | Davidstown Solar | Solar | 4.95 | Boolabawn | Wexford | ECP-1 | Energised | 2022-11-07 | 38 kV
DG1290 | Gorey Solar | Solar | 4 | N/A | BANOGE | ECP-1 | Energised | 2023-09-06 | 20 kV
DG1136 | Knockglass Solar Farm (Bawnmore extension) | Solar | 4 | N/A | Macroom | Non GPA | Energised | 2022-12-22 | 38 kV
DG1087 | Curraghmartin Solar Park | Solar | 3.99 | Granagh | Waterford | Non GPA | Energised | 2022-07-26 | 10 kV
DG1122 | Lurrig Solar Farm | Solar | 3.6 | CLOYNE | Midleton | ECP-1 | Energised | 2022-12-14 | 10 kV
DG807 | Greenfield PV | Solar | 0.499 | ACADEMY STREET | Navan | Non GPA | Energised | 2023-09-08 | LV
DG1951 | Lurrig Solar Ext. | Solar | 0.34 | CLOYNE | Midleton | ECP-2.2 - Non-Batch | Energised | 2023-07-01 | 10 kV
DG1952 | Connacht GAA Solar PV | Solar | 0.3 | Dalton 38-MV | Dalton | Non-Batch | Energised | 2023-03-30 | LV
DG1891 | Knockfee Farm Rooftop | Solar | 0.18 | Cahir 38-MV | Cahir | Non-Batch | Energised | 2023-04-04 | LV
DG1879 | Roscrea Leisure Centre | Solar | 0.12 | Roscrea | Ikerrin | Non-Batch | Energised | 2022-05-11 | LV
DG1877 | Thurles Leisure Centre Solar | Solar | 0.1 | Loughtagalla | Thurles | Non-Batch | Energised | 2022-05-11 | LV
DG1975 | Hill Top Agri Solar PV | Solar | 0.07 | CLOONLOUGH | BARRYMORE | Non-Batch | Energised | 2023-04-25 | LV
ZG1056 | UCC Photovoltaic | Solar | 0.05 | N/A | Castleview | Pre-Gate | Energised | Date unavailable at this time | 10 kV
DG2062 | St. Gabriels Centre NB | Solar | 0.04 | BALLINACURRA | LIMERICK | Non GPA | Energised | 2014-11-20 | LV
DG2060 | Tipperary CoCo Clonmel Machinery Yard | Solar | 0.02 | ARDGEEHA | DOON | Non GPA | Energised | 2016-01-13 | LV
DG1969 | Excel Office Solar PV (Hanlon Transport) | Solar | 0.19 | Bush | Dundalk | ECP-2.2 - Non-Batch | Energised | 2024-06-12 | LV
DG1281 | Lehinch Solar | Solar | 4 | Clara | Thornsberry | Non GPA | Energised | 2024-06-26 | 10 kV
DG1967 | Ernevalley Poultry Ltd | Solar | 0.12 | Finea | Shankill | ECP-2.2 - Non-Batch | Energised | 2024-04-18 | LV
DG1141 | Shanagraigue Solar | Solar | 4.95 | Kilmoney 38kV | Trabeg | Non GPA | Energised | 2024-05-17 | 10 kV
DG1101 | Dromalour Solar Farm | Solar | 4.95 | Kanturk | Glenlara | Non GPA | Energised | 2024-05-09 | 10 kV
DG1142 | Drumgarriff South | Solar | 4.95 | Whitechurch | Kilbarry | Non GPA | Energised | 2024-05-03 | 20 kV
DG1517 | Painestown Hill Solar | Solar | 7.14 | N/A | Baltrasna | Non GPA | Energised | 2024-05-01 | 20 kV
DG2081 | Nellcor Puritan Bennett Ireland | Solar | 0.2 | N/A | Galway 110kV | ECP-2.4 - Non-Batch | Energised | 2024-09-24 | 10 kV
DG2015 | Hickeys Farm Solar PV | Solar | 0.3 | Bailieboro 38kV | Dundalk | ECP-2.3 - Non-Batch | Energised | 2024-07-26 | LV
DG1119 | Crossfield Solar | Solar | 4.95 | Scarteen 38kV | Mallow 110kV | Non GPA | Energised | 2024-07-25 | 10 kV
DG1359 | Beaulieu PV | Solar | 3.99 | Termonfeckin Road | Drybridge | Non GPA | Energised | 2024-04-10 | LV
DG248 | Ballymacadam Solar | Solar | 21 | N/A | Cahir 110kV | ECP-1 | Energised | 2024-10-14 | 38 kV
DG1146 | Castlekelly Solar | Solar | 4 | Goresbridge 38kV | Kilkenny 110kV/38kV | Non GPA | Energised | 2024-12-19 | 10 kV
DG1147 | Courtown Solar Farm | Solar | 4 | N/A | Banoge 110kV | Non GPA | Energised | 2024-11-19 | 20 kV
|  | Total | 145.919
* DSO-Connected rooftop solar and other small scale/micro generation data currently unavailable.